| Jandy / Laars Lite 2 Heater Jandy LX Series Heater Jandy Hi-E2 Heater Jandy Air Energy Heat Pump Jandy LXi Low NOx Heater Jandy Legacy Heater Jandy Legacy Millivolt | Laars Lite 2 Heater |  | 1 Yr. | Yes |  | Yes | 82% | Natural / Propane | Yes | Yes | NLA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jandy LX Series Heater |  | 1 Yr. | Yes |  | Yes | 83% | Natural / Propane | Yes | Yes | NLA |
|  | Laars XL-3 Heater |  | 1 Yr. | No |  | Yes | N/A | Oil | No | Yes | NLA |
|  | Jandy Hi-E2 Heater |  | 1 Yr. | Yes |  | No | 95% | Natural / Propane | Yes | Yes | $6063.55 |
|  | Jandy Air Energy Heat Pump |  | 1 Yr. | Yes |  | No | N/A | Electric | Yes | Yes | $3397.97 |
|  | LXi Low NOx Heater |  | 1Yr | Yes |  | Yes | 88% | Natural / Propane | Yes | Yes | $2010.68 |
|  | Legacy Heater |  | 1Yr | Yes |  | Yes | 83% | Natural / Propane | No | No | $1347.45 |
|  | Legacy Millivolt Heater |  | 1Yr | No |  | Yes | 83% | Natural / Propane | No | No | $1228.38 |
| Lochinvar EnergyRite Heater | EnergyRite Nat. Gas Heater |  | 2 Yr. | Yes | N/A | Yes | 88% | Natural / Propane | Yes | Yes | $2010.49 |
| Raypak Digital Heater Raypak Millivolt Heater Raypak Heat Pump Raypak Digital Low NOx Heater Raypak D-2 Power Vents | Raypak Digital Heater |  | 1 Yr. | Yes |  | Yes | 82% | Natural / Propane | No | Yes | $1646.30 |
|  | Raypak Millivolt Heater |  | 1 Yr. | Yes |  | Yes | 82% | Natural / Propane | No | No | $1474.59 |
|  | Raypak Heat Pump |  | 5 Yr. | Yes |  | No | N/A | Electric | Yes | Yes | $2561.48 |
|  | Raypak Digital Low NOx Heater |  | 1 Yr. | Yes |  | Yes | 82% | Natural | Yes | Yes | $1667.97 |
| Purex Minimax 100 Heater Purex MiniMax 75 Heater Purex Minimax NT Heater MasterTemp Low NOx Heater | Purex Minimax 100 Heater |  | 1 Yr | No |  | Yes | N/A | Natural / Propane | No | No | $1042.87 |
|  | Purex Minimax 75 Heater |  | 1 Yr | No |  | Yes | 80% | Natural | Yes | No | $1032.21 |
|  | Purex Minimax NT Heater |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NLA |
|  | MasterTemp Heaters |  | 2Yr | Yes |  | Yes | 82% | Natural / Propane | Yes | Yes | $1702.29 |
| Sta-Rite Max-E-Therm Heater | Sta-Rite Max-E-Therm Heater |  | 2 Yr. | Yes |  | No | 84% | Natural / Propane | Yes | Yes | $1802.51 |
| Aqua Pro A/G Heat Pump Aqua Pro I/G Heat Pump | Aqua Pro A/G Heat Pump |  | 5 Yr. | No | N/A | No | N/A | Electric | N/A | Yes | $2247.97 |
|  | Aqua Pro I/G Heat Pump |  | 15 Yr. | Yes | N/A | No | N/A | Electric | N/A | Yes | $3387.97 |
| Hayward-Universal H-Series Hayward H-Series Millivolt Hayward H-Series Above Ground | Universal H-Series Heaters |  | 1Yr | Yes |  | Yes | 84% | Natural / Propane | Yes | Yes | $1469.81 |
|  | H-Series Millivolt Heaters |  | 1Yr | No |  | Yes | 81% | Natural / Propane | No | No | $1386.19 |
|  | H-Series Above Ground |  | 1Yr | No |  | No | 81% | Natural / Propane | Yes | No | $1008.29 |